{"text_format":"3","workbook":"xlsx","n_sheets":2,"sheets":["表-04 单位工程投标报价汇总表","表-08 分部分项工程和单价措施项目清单与计价表"],"read":"whole","date_system":"1900"}

{"sheet":"表-04 单位工程投标报价汇总表","index":0,"n_rows":38,"n_cols":6,"rows_kept":38,"merged":[[0,0,0,5],[1,0,1,2],[1,4,1,5],[2,2,2,4],[3,2,3,4],[4,2,4,4],[5,2,5,4],[6,2,6,4],[7,2,7,4],[8,2,8,4],[9,2,9,4],[10,2,10,4],[11,2,11,4],[12,2,12,4],[13,2,13,4],[14,2,14,4],[15,2,15,4],[16,2,16,4],[17,2,17,4],[18,2,18,4],[19,2,19,4],[20,2,20,4],[21,2,21,4],[22,2,22,4],[23,2,23,4],[24,2,24,4],[25,2,25,4],[26,2,26,4],[27,2,27,4],[28,2,28,4],[29,2,29,4],[30,2,30,4],[31,2,31,4],[32,2,32,4],[33,2,33,4],[34,2,34,4],[35,0,35,1],[35,2,35,4],[36,0,36,5],[37,0,37,2],[37,4,37,5]]}
["单位工程投标报价汇总表"]
["工程名称：广重车间给水改造项目",null,null,"标段：","第 1 页  共 1 页"]
["序号","汇总内容","金额:(元)",null,null,"其中：暂估价(元)"]
["1","分部分项合计"]
["1.1","电气部分"]
["1.2","消防电部分"]
["1.3","消防水部分"]
["1.4","土石方工程"]
["2","措施合计"]
["2.1","绿色施工安全防护措施费"]
["2.2","其他措施费"]
["3","其他项目",{"$nulls":3},"－"]
["3.1","暂列金额"]
["3.2","暂估价"]
["3.3","计日工"]
["3.4","总承包服务费"]
["3.5","预算包干费"]
["3.6","工程优质费"]
["3.7","概算幅度差"]
["3.8","索赔费用"]
["3.9","现场签证费用"]
["3.10","其他费用"]
["4","税前工程造价"]
["5","增值税销项税额",{"$nulls":3},"－"]
["6","总造价"]
["7","人工费"]
{"$rows_empty":9}
["投标报价合计=1+2+3+5",{"$nulls":4},"0"]
["注：本表适用于单位工程招标控制价或投标报价的汇总，如无单位工程划分，单项工程也使用本表汇总"]
[{"$nulls":4},"表—04"]

{"sheet":"表-08 分部分项工程和单价措施项目清单与计价表","index":1,"n_rows":299,"n_cols":11,"rows_kept":299,"merged":[[0,0,0,10],[1,0,1,3],[1,4,1,6],[1,7,1,10],[2,0,4,0],[2,1,4,1],[2,2,4,2],[2,3,4,4],[2,5,4,5],[2,6,4,7],[2,8,2,10],[3,8,4,8],[3,9,4,9],[5,3,5,4],[5,6,5,7],[6,3,6,4],[6,6,6,7],[7,3,7,4],[7,6,7,7],[8,3,8,4],[8,6,8,7],[9,3,9,4],[9,6,9,7],[10,3,10,4],[10,6,10,7],[11,0,11,8],[12,0,12,10],[13,0,13,3],[13,4,13,6],[13,7,13,10],[14,0,14,10],[15,0,15,3],[15,4,15,6],[15,7,15,10],[16,0,18,0],[16,1,18,1],[16,2,18,2],[16,3,18,4],[16,5,18,5],[16,6,18,7],[16,8,16,10],[17,8,18,8],[17,9,18,9],[19,3,19,4],[19,6,19,7],[20,3,20,4],[20,6,20,7],[21,3,21,4],[21,6,21,7],[22,3,22,4],[22,6,22,7],[23,3,23,4],[23,6,23,7],[24,0,24,8],[25,0,25,10],[26,0,26,3],[26,4,26,6],[26,7,26,10],[27,0,27,10],[28,0,28,3],[28,4,28,6],[28,7,28,10],[29,0,31,0],[29,1,31,1],[29,2,31,2],[29,3,31,4],[29,5,31,5],[29,6,31,7],[29,8,29,10],[30,8,31,8],[30,9,31,9],[32,3,32,4],[32,6,32,7],[33,3,33,4],[33,6,33,7],[34,3,34,4],[34,6,34,7],[35,3,35,4],[35,6,35,7],[36,3,36,4],[36,6,36,7],[37,0,37,8],[38,0,38,10],[39,0,39,3],[39,4,39,6],[39,7,39,10],[40,0,40,10],[41,0,41,3],[41,4,41,6],[41,7,41,10],[42,0,44,0],[42,1,44,1],[42,2,44,2],[42,3,44,4],[42,5,44,5],[42,6,44,7],[42,8,42,10],[43,8,44,8],[43,9,44,9],[45,3,45,4],[45,6,45,7],[46,3,46,4],[46,6,46,7],[47,3,47,4],[47,6,47,7],[48,3,48,4],[48,6,48,7],[49,3,49,4],[49,6,49,7],[50,3,50,4],[50,6,50,7],[51,0,51,8],[52,0,52,10],[53,0,53,3],[53,4,53,6],[53,7,53,10],[54,0,54,10],[55,0,55,3],[55,4,55,6],[55,7,55,10],[56,0,58,0],[56,1,58,1],[56,2,58,2],[56,3,58,4],[56,5,58,5],[56,6,58,7],[56,8,56,10],[57,8,58,8],[57,9,58,9],[59,3,59,4],[59,6,59,7],[60,3,60,4],[60,6,60,7],[61,3,61,4],[61,6,61,7],[62,3,62,4],[62,6,62,7],[63,3,63,4],[63,6,63,7],[64,3,64,4],[64,6,64,7],[65,3,65,4],[65,6,65,7],[66,3,66,4],[66,6,66,7],[67,3,67,4],[67,6,67,7],[68,3,68,4],[68,6,68,7],[69,0,69,8],[70,0,70,10],[71,0,71,3],[71,4,71,6],[71,7,71,10],[72,0,72,10],[73,0,73,3],[73,4,73,6],[73,7,73,10],[74,0,76,0],[74,1,76,1],[74,2,76,2],[74,3,76,4],[74,5,76,5],[74,6,76,7],[74,8,74,10],[75,8,76,8],[75,9,76,9],[77,3,77,4],[77,6,77,7],[78,3,78,4],[78,6,78,7],[79,3,79,4],[79,6,79,7],[80,3,80,4],[80,6,80,7],[81,3,81,4],[81,6,81,7],[82,3,82,4],[82,6,82,7],[83,0,83,8],[84,0,84,10],[85,0,85,3],[85,4,85,6],[85,7,85,10],[86,0,86,10],[87,0,87,3],[87,4,87,6],[87,7,87,10],[88,0,90,0],[88,1,90,1],[88,2,90,2],[88,3,90,4],[88,5,90,5],[88,6,90,7],[88,8,88,10],[89,8,90,8],[89,9,90,9],[91,3,91,4],[91,6,91,7],[92,3,92,4],[92,6,92,7],[93,3,93,4],[93,6,93,7],[94,3,94,4],[94,6,94,7],[95,3,95,4],[95,6,95,7],[96,3,96,4],[96,6,96,7],[97,0,97,8],[98,0,98,10],[99,0,99,3],[99,4,99,6],[99,7,99,10],[100,0,100,10],[101,0,101,3],[101,4,101,6],[101,7,101,10],[102,0,104,0],[102,1,104,1],[102,2,104,2],[102,3,104,4],[102,5,104,5],[102,6,104,7],[102,8,102,10],[103,8,104,8],[103,9,104,9],[105,3,105,4],[105,6,105,7],[106,3,106,4],[106,6,106,7],[107,3,107,4],[107,6,107,7],[108,3,108,4],[108,6,108,7],[109,3,109,4],[109,6,109,7],[110,3,110,4],[110,6,110,7],[111,0,111,8],[112,0,112,10],[113,0,113,3],[113,4,113,6],[113,7,113,10],[114,0,114,10],[115,0,115,3],[115,4,115,6],[115,7,115,10],[116,0,118,0],[116,1,118,1],[116,2,118,2],[116,3,118,4],[116,5,118,5],[116,6,118,7],[116,8,116,10],[117,8,118,8],[117,9,118,9],[119,3,119,4],[119,6,119,7],[120,3,120,4],[120,6,120,7],[121,3,121,4],[121,6,121,7],[122,3,122,4],[122,6,122,7],[123,3,123,4],[123,6,123,7],[124,3,124,4],[124,6,124,7],[125,0,125,8],[126,0,126,10],[127,0,127,3],[127,4,127,6],[127,7,127,10],[128,0,128,10],[129,0,129,3],[129,4,129,6],[129,7,129,10],[130,0,132,0],[130,1,132,1],[130,2,132,2],[130,3,132,4],[130,5,132,5],[130,6,132,7],[130,8,130,10],[131,8,132,8],[131,9,132,9],[133,3,133,4],[133,6,133,7],[134,3,134,4],[134,6,134,7],[135,3,135,4],[135,6,135,7],[136,3,136,4],[136,6,136,7],[137,3,137,4],[137,6,137,7],[138,3,138,4],[138,6,138,7],[139,0,139,8],[140,0,140,10],[141,0,141,3],[141,4,141,6],[141,7,141,10],[142,0,142,10],[143,0,143,3],[143,4,143,6],[143,7,143,10],[144,0,146,0],[144,1,146,1],[144,2,146,2],[144,3,146,4],[144,5,146,5],[144,6,146,7],[144,8,144,10],[145,8,146,8],[145,9,146,9],[147,3,147,4],[147,6,147,7],[148,3,148,4],[148,6,148,7],[149,3,149,4],[149,6,149,7],[150,3,150,4],[150,6,150,7],[151,3,151,4],[151,6,151,7],[152,0,152,8],[153,0,153,10],[154,0,154,3],[154,4,154,6],[154,7,154,10],[155,0,155,10],[156,0,156,3],[156,4,156,6],[156,7,156,10],[157,0,159,0],[157,1,159,1],[157,2,159,2],[157,3,159,4],[157,5,159,5],[157,6,159,7],[157,8,157,10],[158,8,159,8],[158,9,159,9],[160,3,160,4],[160,6,160,7],[161,3,161,4],[161,6,161,7],[162,3,162,4],[162,6,162,7],[163,3,163,4],[163,6,163,7],[164,3,164,4],[164,6,164,7],[165,0,165,8],[166,0,166,10],[167,0,167,3],[167,4,167,6],[167,7,167,10],[168,0,168,10],[169,0,169,3],[169,4,169,6],[169,7,169,10],[170,0,172,0],[170,1,172,1],[170,2,172,2],[170,3,172,4],[170,5,172,5],[170,6,172,7],[170,8,170,10],[171,8,172,8],[171,9,172,9],[173,3,173,4],[173,6,173,7],[174,3,174,4],[174,6,174,7],[175,3,175,4],[175,6,175,7],[176,3,176,4],[176,6,176,7],[177,3,177,4],[177,6,177,7],[178,3,178,4],[178,6,178,7],[179,3,179,4],[179,6,179,7],[180,3,180,4],[180,6,180,7],[181,0,181,8],[182,0,182,10],[183,0,183,3],[183,4,183,6],[183,7,183,10],[184,0,184,10],[185,0,185,3],[185,4,185,6],[185,7,185,10],[186,0,188,0],[186,1,188,1],[186,2,188,2],[186,3,188,4],[186,5,188,5],[186,6,188,7],[186,8,186,10],[187,8,188,8],[187,9,188,9],[189,3,189,4],[189,6,189,7],[190,3,190,4],[190,6,190,7],[191,3,191,4],[191,6,191,7],[192,3,192,4],[192,6,192,7],[193,3,193,4],[193,6,193,7],[194,3,194,4],[194,6,194,7],[195,3,195,4],[195,6,195,7],[196,0,196,8],[197,0,197,10],[198,0,198,3],[198,4,198,6],[198,7,198,10],[199,0,199,10],[200,0,200,3],[200,4,200,6],[200,7,200,10],[201,0,203,0],[201,1,203,1],[201,2,203,2],[201,3,203,4],[201,5,203,5],[201,6,203,7],[201,8,201,10],[202,8,203,8],[202,9,203,9],[204,3,204,4],[204,6,204,7],[205,3,205,4],[205,6,205,7],[206,3,206,4],[206,6,206,7],[207,3,207,4],[207,6,207,7],[208,3,208,4],[208,6,208,7],[209,3,209,4],[209,6,209,7],[210,3,210,4],[210,6,210,7],[211,0,211,8],[212,0,212,10],[213,0,213,3],[213,4,213,6],[213,7,213,10],[214,0,214,10],[215,0,215,3],[215,4,215,6],[215,7,215,10],[216,0,218,0],[216,1,218,1],[216,2,218,2],[216,3,218,4],[216,5,218,5],[216,6,218,7],[216,8,216,10],[217,8,218,8],[217,9,218,9],[219,3,219,4],[219,6,219,7],[220,3,220,4],[220,6,220,7],[221,3,221,4],[221,6,221,7],[222,3,222,4],[222,6,222,7],[223,3,223,4],[223,6,223,7],[224,3,224,4],[224,6,224,7],[225,0,225,8],[226,0,226,10],[227,0,227,3],[227,4,227,6],[227,7,227,10],[228,0,228,10],[229,0,229,3],[229,4,229,6],[229,7,229,10],[230,0,232,0],[230,1,232,1],[230,2,232,2],[230,3,232,4],[230,5,232,5],[230,6,232,7],[230,8,230,10],[231,8,232,8],[231,9,232,9],[233,3,233,4],[233,6,233,7],[234,3,234,4],[234,6,234,7],[235,3,235,4],[235,6,235,7],[236,3,236,4],[236,6,236,7],[237,3,237,4],[237,6,237,7],[238,3,238,4],[238,6,238,7],[239,3,239,4],[239,6,239,7],[240,3,240,4],[240,6,240,7],[241,0,241,8],[242,0,242,10],[243,0,243,3],[243,4,243,6],[243,7,243,10],[244,0,244,10],[245,0,245,3],[245,4,245,6],[245,7,245,10],[246,0,248,0],[246,1,248,1],[246,2,248,2],[246,3,248,4],[246,5,248,5],[246,6,248,7],[246,8,246,10],[247,8,248,8],[247,9,248,9],[249,3,249,4],[249,6,249,7],[250,3,250,4],[250,6,250,7],[251,3,251,4],[251,6,251,7],[252,3,252,4],[252,6,252,7],[253,3,253,4],[253,6,253,7],[254,3,254,4],[254,6,254,7],[255,3,255,4],[255,6,255,7],[256,3,256,4],[256,6,256,7],[257,3,257,4],[257,6,257,7],[258,3,258,4],[258,6,258,7],[259,0,259,8],[260,0,260,10],[261,0,261,3],[261,4,261,6],[261,7,261,10],[262,0,262,10],[263,0,263,3],[263,4,263,6],[263,7,263,10],[264,0,266,0],[264,1,266,1],[264,2,266,2],[264,3,266,4],[264,5,266,5],[264,6,266,7],[264,8,264,10],[265,8,266,8],[265,9,266,9],[267,3,267,4],[267,6,267,7],[268,3,268,4],[268,6,268,7],[269,3,269,4],[269,6,269,7],[270,3,270,4],[270,6,270,7],[271,3,271,4],[271,6,271,7],[272,3,272,4],[272,6,272,7],[273,3,273,4],[273,6,273,7],[274,3,274,4],[274,6,274,7],[275,3,275,4],[275,6,275,7],[276,3,276,4],[276,6,276,7],[277,3,277,4],[277,6,277,7],[278,3,278,4],[278,6,278,7],[279,3,279,4],[279,6,279,7],[280,3,280,4],[280,6,280,7],[281,3,281,4],[281,6,281,7],[282,3,282,4],[282,6,282,7],[283,3,283,4],[283,6,283,7],[284,3,284,4],[284,6,284,7],[285,3,285,4],[285,6,285,7],[286,3,286,4],[286,6,286,7],[287,3,287,4],[287,6,287,7],[288,3,288,4],[288,6,288,7],[289,3,289,4],[289,6,289,7],[290,3,290,4],[290,6,290,7],[291,3,291,4],[291,6,291,7],[292,3,292,4],[292,6,292,7],[293,3,293,4],[293,6,293,7],[294,3,294,4],[294,6,294,7],[295,0,295,8],[296,0,296,8],[297,0,297,10],[298,0,298,3],[298,4,298,6],[298,7,298,10]]}
["分部分项工程和单价措施项目清单与计价表"]
["工程名称：广重集团新生产线车间消防管网给水改造项目",{"$nulls":3},"标段：",null,null,"第 1 页  共 19 页"]
["序号","项目编码","项目名称","项目特征描述",null,"计量单位","工程量",null,"金额（元）"]
[{"$nulls":8},"综合单价","综合合价","其中"]
[{"$nulls":10},"暂估价"]
[null,null,"电气部分"]
[1,"030404017001","消防水泵房动力配电箱XFB（1800×800×400mm）","1.名称:消防水泵房动力配电箱XFB\n2.规格:1800×800×400mm\n3.安装方式:落地安装\n4.其他:包含穿通板、箱体及其附件安装、接地、单机调试、接线等相关费用穿通板制作、安装，详见设计图纸及施工规范要求\n5.基础垫层：槽钢，300mm混凝土基础",null,"台",1]
[2,"030404016001","喷淋泵控制箱PLB","1.名称:喷淋泵控制箱PLB\n2.其他:采用星三角启动，详见设计图纸及施工规范要求\n3.基础垫层：槽钢，300mm混凝土基础",null,"台",1]
[3,"030413005003","强电井","1.名称:强电井\n2.规格:根据管数确定\n3.其他:包括但不限于规范及图纸范围内的一切相关工作内容",null,"个",5]
[4,"030404035001","插座","1.名称:配电箱应急检修插座\n2.其他:详见设计图纸及施工规范要求",null,"个",1]
[5,"030408001001","BTTRZ-3*150+2*70","1.名称:矿物电缆\n2.型号:BTTRZ-3*150+2*70\n3.材质:铜芯\n4.敷设方式、部位:综合考虑\n5.其他:包括但不限于规范及图纸范围内的一切相关工作内容",null,"m",115.78]
["本页小计"]
["注：为计取规费等的使用，可在表中增设其中：“定额人工费”。"]
[{"$nulls":7},"表—08"]
["分部分项工程和单价措施项目清单与计价表"]
["工程名称：广重集团新生产线车间消防管网给水改造项目",{"$nulls":3},"标段：",null,null,"第 2 页  共 19 页"]
["序号","项目编码","项目名称","项目特征描述",null,"计量单位","工程量",null,"金额（元）"]
[{"$nulls":8},"综合单价","综合合价","其中"]
[{"$nulls":10},"暂估价"]
[6,"030408001002","NH-YJV-3*120+2*70","1.名称:电力电缆\n2.型号:NH-YJV-3*120+2*70\n3.材质:铜芯\n4.敷设方式、部位:综合考虑\n5.其他:包括但不限于规范及图纸范围内的一切相关工作内容",null,"m",3.119]
[7,"030408001003","NH-YJV-4*70","1.名称:电力电缆\n2.型号:NH-YJV-4*70\n3.材质:铜芯\n4.敷设方式、部位:综合考虑\n5.其他:包括但不限于规范及图纸范围内的一切相关工作内容",null,"m",31.352]
[8,"030408001004","NH-YJV-3*70","1.名称:电力电缆\n2.型号:NH-YJV-3*70\n3.材质:铜芯\n4.敷设方式、部位:综合考虑\n5.其他:包括但不限于规范及图纸范围内的一切相关工作内容",null,"m",26.08]
[9,"030408001005","NH-YJV-5*4","1.名称:电力电缆\n2.型号:NH-YJV-5*4\n3.材质:铜芯\n4.敷设方式、部位:综合考虑\n5.其他:包括但不限于规范及图纸范围内的一切相关工作内容",null,"m",6.817]
[10,"030408001006","NH-YJV-4*2.5","1.名称:电力电缆\n2.型号:NH-YJV-4*2.5\n3.材质:铜芯\n4.敷设方式、部位:综合考虑\n5.其他:包括但不限于规范及图纸范围内的一切相关工作内容",null,"m",28.437]
["本页小计"]
["注：为计取规费等的使用，可在表中增设其中：“定额人工费”。"]
[{"$nulls":7},"表—08"]
["分部分项工程和单价措施项目清单与计价表"]
["工程名称：广重集团新生产线车间消防管网给水改造项目",{"$nulls":3},"标段：",null,null,"第 3 页  共 19 页"]
["序号","项目编码","项目名称","项目特征描述",null,"计量单位","工程量",null,"金额（元）"]
[{"$nulls":8},"综合单价","综合合价","其中"]
[{"$nulls":10},"暂估价"]
[11,"030411004001","NH-BVV-2.5","1.名称:配线\n2.规格:NH-BVV-2.5\n3.材质:铜芯\n4.其他:包括但不限于规范及图纸范围内的一切相关工作内容",null,"m",5.3]
[12,"030408006001","电力电缆头","1.名称:矿物质电缆头\n2.型号:截面150mm²以下\n3.安装部位:综合考虑\n4.其他:包括但不限于规范及图纸范围内的一切相关工作内容",null,"个",4]
[13,"030408006002","电力电缆头","1.名称:电力电缆头\n2.型号:截面120mm²以下\n3.安装部位:综合考虑\n4.其他:包括但不限于规范及图纸范围内的一切相关工作内容",null,"个",2]
[14,"030408006003","电力电缆头","1.名称:电力电缆头\n2.型号:截面70mm²以下\n3.安装部位:综合考虑\n4.其他:包括但不限于规范及图纸范围内的一切相关工作内容",null,"个",8]
[15,"030408003007","电缆保护管","1.名称:埋地电缆保护管\n2.材质:镀锌钢管\n3.规格:20根×SC150\n4.敷设方式:埋地敷设\n5.垫层:C15混凝土垫层100mm厚\n6.包封强度等级:C20混凝土\n7.其他:包括但不限于规范及图纸范围内的一切相关工作内容",null,"m",14.08]
["本页小计"]
["注：为计取规费等的使用，可在表中增设其中：“定额人工费”。"]
[{"$nulls":7},"表—08"]
["分部分项工程和单价措施项目清单与计价表"]
["工程名称：广重集团新生产线车间消防管网给水改造项目",{"$nulls":3},"标段：",null,null,"第 4 页  共 19 页"]
["序号","项目编码","项目名称","项目特征描述",null,"计量单位","工程量",null,"金额（元）"]
[{"$nulls":8},"综合单价","综合合价","其中"]
[{"$nulls":10},"暂估价"]
[16,"030408003008","电缆保护管","1.名称:埋地电缆保护管\n2.材质:镀锌钢管\n3.规格:18根×SC150\n4.敷设方式:埋地敷设\n5.垫层:C15混凝土垫层100mm厚\n6.包封强度等级:C20混凝土\n7.其他:包括但不限于规范及图纸范围内的一切相关工作内容",null,"m",12.16]
[17,"030408003003","电缆保护管","1.名称:埋地电缆保护管\n2.材质:镀锌钢管\n3.规格:2根×SC150\n4.敷设方式:埋地敷设\n5.垫层:C15混凝土垫层100mm厚\n6.其他:包括但不限于规范及图纸范围内的一切相关工作内容",null,"m",67.41]
[18,"030411003005","耐火桥架","1.名称:耐火桥架\n2.规格:200*100\n3.其他:包括但不限于规范及图纸范围内的一切相关工作内容",null,"m",87.67]
[19,"030411003006","桥架","1.名称:桥架\n2.规格:400*200\n3.其他:包括但不限于规范及图纸范围内的一切相关工作内容",null,"m",79.694]
[20,"030411003007","桥架","1.名称:桥架\n2.规格:500*200\n3.其他:包括但不限于规范及图纸范围内的一切相关工作内容",null,"m",80.809]
[21,"040503002002","混凝土支墩","1.部位:桥架支墩\n2.混凝土强度等级:C20普通商品混凝土\n3.其他:包括但不限于规范及图纸范围内的一切相关工作内容",null,"m3",8.1]
["本页小计"]
["注：为计取规费等的使用，可在表中增设其中：“定额人工费”。"]
[{"$nulls":7},"表—08"]
["分部分项工程和单价措施项目清单与计价表"]
["工程名称：广重集团新生产线车间消防管网给水改造项目",{"$nulls":3},"标段：",null,null,"第 5 页  共 19 页"]
["序号","项目编码","项目名称","项目特征描述",null,"计量单位","工程量",null,"金额（元）"]
[{"$nulls":8},"综合单价","综合合价","其中"]
[{"$nulls":10},"暂估价"]
[22,"030413001001","铁构件","1.名称:桥架支架\n2.其他:包括除锈、刷油两遍等，但不限于规范及图纸范围内的一切相关工作内容",null,"kg",233.53]
[null,null,"消防电部分"]
[23,"030904008001","输入模块","1.名称:输入模块\n2.其他:包括但不限于规范及图纸范围内的一切相关工作内容",null,"个",1]
[24,"030411005001","接线端子箱","1.名称:接线端子箱\n2.其他:包括但不限于规范及图纸范围内的一切相关工作内容",null,"个",1]
[25,"030904008002","短路隔离器","1.名称:短路隔离器\n2.其他:包括但不限于规范及图纸范围内的一切相关工作内容",null,"个",1]
[26,"030904001001","烟感探测器","1.名称:烟感探测器\n2.其他:包括但不限于规范及图纸范围内的一切相关工作内容",null,"个",2]
[27,"030904008003","模块箱","1.名称:模块箱\n2.其他:包括但不限于规范及图纸范围内的一切相关工作内容",null,"台",1]
[28,"030904008005","输入输出模块","1.名称:输入输出模块\n2.其他:包括但不限于规范及图纸范围内的一切相关工作内容",null,"个",3]
[29,"030904008006","消防电源监控模块","1.名称:消防电源监控模块\n2.其他:包括但不限于规范及图纸范围内的一切相关工作内容",null,"个",1]
[30,"030904006001","消防专业电话分机","1.名称:消防专业电话分机\n2.其他:包括但不限于规范及图纸范围内的一切相关工作内容",null,"部",1]
["本页小计"]
["注：为计取规费等的使用，可在表中增设其中：“定额人工费”。"]
[{"$nulls":7},"表—08"]
["分部分项工程和单价措施项目清单与计价表"]
["工程名称：广重集团新生产线车间消防管网给水改造项目",{"$nulls":3},"标段：",null,null,"第 6 页  共 19 页"]
["序号","项目编码","项目名称","项目特征描述",null,"计量单位","工程量",null,"金额（元）"]
[{"$nulls":8},"综合单价","综合合价","其中"]
[{"$nulls":10},"暂估价"]
[31,"030413005002","人（手）孔砌筑","1.名称:弱电井\n2.规格:根据管数确定\n3.垫层、基础材质及厚度:C10素砼垫层100mm\n4.砌筑材料、品种:C30混凝土\n5.井座、盖:球墨铸铁井盖\n6.其他:做法见07SD101-8第64页，包括但不限于规范及图纸范围内的一切相关工作内容",null,"个",3]
[32,"030411004002","NH-RVS-16*1.5","1.名称:配线\n2.型号:NH-RVS-16*1.5\n3.材质:铜芯\n4.其他:包括但不限于规范及图纸范围内的一切相关工作内容",null,"m",4.883]
[33,"030411004018","NH-RVS-10*1.5","1.名称:配线\n2.型号:NH-RVS-10*1.5\n3.材质:铜芯\n4.其他:包括但不限于规范及图纸范围内的一切相关工作内容",null,"m",4.879]
[34,"030411004004","ZN-KVV-10*1.5","1.名称:配线\n2.型号:ZN-KVV-10*1.5\n3.材质:铜芯\n4.其他:包括但不限于规范及图纸范围内的一切相关工作内容",null,"m",256.7]
[35,"030411004005","ZN-RVVP-2*2.5","1.名称:配线\n2.型号:ZN-RVVP-2*2.5\n3.材质:铜芯\n4.其他:包括但不限于规范及图纸范围内的一切相关工作内容",null,"m",268.59]
[36,"030411004014","ZN-KVV-4*1.5","1.名称:配线\n2.型号:ZN-KVV-4*1.5\n3.材质:铜芯\n4.其他:包括但不限于规范及图纸范围内的一切相关工作内容",null,"m",256.7]
["本页小计"]
["注：为计取规费等的使用，可在表中增设其中：“定额人工费”。"]
[{"$nulls":7},"表—08"]
["分部分项工程和单价措施项目清单与计价表"]
["工程名称：广重集团新生产线车间消防管网给水改造项目",{"$nulls":3},"标段：",null,null,"第 7 页  共 19 页"]
["序号","项目编码","项目名称","项目特征描述",null,"计量单位","工程量",null,"金额（元）"]
[{"$nulls":8},"综合单价","综合合价","其中"]
[{"$nulls":10},"暂估价"]
[37,"030411004015","ZN-KVV-2*1.5","1.名称:配线\n2.型号:ZN-KVV-2*1.5\n3.材质:铜芯\n4.其他:包括但不限于规范及图纸范围内的一切相关工作内容",null,"m",257.15]
[38,"030411004006","ZN-KVV22-2*1.5","1.名称:配线\n2.型号:ZN-KVV22-2*1.5\n3.材质:铜芯\n4.其他:包括但不限于规范及图纸范围内的一切相关工作内容",null,"m",42.35]
[39,"030411004016","NN-KVV-3*1.5","1.名称:配线\n2.型号:NN-KVV-3*1.5\n3.材质:铜芯\n4.其他:包括但不限于规范及图纸范围内的一切相关工作内容",null,"m",235.8]
[40,"030411004017","NN-KVV-4*1.5","1.名称:配线\n2.型号:NN-KVV-4*1.5\n3.材质:铜芯\n4.其他:包括但不限于规范及图纸范围内的一切相关工作内容",null,"m",263.7]
[41,"030411004019","ZN-RVS-2*2.5","1.名称:配线\n2.型号:ZN-RVS-2*2.5\n3.材质:铜芯\n4.其他:包括但不限于规范及图纸范围内的一切相关工作内容",null,"m",256.751]
[42,"030411004020","ZN-RVS-2*1.5","1.名称:配线\n2.型号:ZN-RVS-2*1.5\n3.材质:铜芯\n4.其他:包括但不限于规范及图纸范围内的一切相关工作内容",null,"m",477.269]
["本页小计"]
["注：为计取规费等的使用，可在表中增设其中：“定额人工费”。"]
[{"$nulls":7},"表—08"]
["分部分项工程和单价措施项目清单与计价表"]
["工程名称：广重集团新生产线车间消防管网给水改造项目",{"$nulls":3},"标段：",null,null,"第 8 页  共 19 页"]
["序号","项目编码","项目名称","项目特征描述",null,"计量单位","工程量",null,"金额（元）"]
[{"$nulls":8},"综合单价","综合合价","其中"]
[{"$nulls":10},"暂估价"]
[43,"030411004021","ZN-RVVP-2*2.5","1.名称:配线\n2.型号:ZN-RVVP-2*2.5\n3.材质:铜芯\n4.其他:包括但不限于规范及图纸范围内的一切相关工作内容",null,"m",256.67]
[44,"030411004022","ZN-RVVP-2*1.5","1.名称:配线\n2.型号:ZN-RVVP-2*1.5\n3.材质:铜芯\n4.其他:包括但不限于规范及图纸范围内的一切相关工作内容",null,"m",11.889]
[45,"030411004023","ZN-BV-10","1.名称:配线\n2.型号:ZN-BV-10\n3.材质:铜芯\n4.其他:包括但不限于规范及图纸范围内的一切相关工作内容",null,"m",506.831]
[46,"030411004024","ZN-BV-2.5","1.名称:配线\n2.型号:ZN-BV-2.5\n3.材质:铜芯\n4.其他:包括但不限于规范及图纸范围内的一切相关工作内容",null,"m",29.342]
[47,"030411004025","ZN-BVV-2.5","1.名称:配线\n2.型号:ZN-BVV-2.5\n3.材质:铜芯\n4.其他:包括但不限于规范及图纸范围内的一切相关工作内容",null,"m",10.248]
[48,"030411001001","配管","1.名称:配管\n2.材质:镀锌钢管\n3.规格:SC32\n4.其他:包括但不限于规范及图纸范围内的一切相关工作内容",null,"m",101.616]
["本页小计"]
["注：为计取规费等的使用，可在表中增设其中：“定额人工费”。"]
[{"$nulls":7},"表—08"]
["分部分项工程和单价措施项目清单与计价表"]
["工程名称：广重集团新生产线车间消防管网给水改造项目",{"$nulls":3},"标段：",null,null,"第 9 页  共 19 页"]
["序号","项目编码","项目名称","项目特征描述",null,"计量单位","工程量",null,"金额（元）"]
[{"$nulls":8},"综合单价","综合合价","其中"]
[{"$nulls":10},"暂估价"]
[49,"030411001002","配管","1.名称:配管\n2.材质:镀锌电线管\n3.规格:SC25\n4.其他:包括但不限于规范及图纸范围内的一切相关工作内容",null,"m",101.616]
[50,"030411001004","配管","1.名称:配管\n2.材质:镀锌电线管\n3.规格:SC20\n4.其他:包括但不限于规范及图纸范围内的一切相关工作内容",null,"m",172.066]
[51,"030411001003","配管","1.名称:配管\n2.材质:镀锌钢管\n3.规格:JDG32\n4.其他:包括但不限于规范及图纸范围内的一切相关工作内容",null,"m",25]
[52,"030411001005","配管","1.名称:配管\n2.材质:镀锌钢管\n3.规格:JDG70\n4.其他:包括但不限于规范及图纸范围内的一切相关工作内容",null,"m",6]
[53,"030411003004","镀锌桥架200*100","1.名称:桥架\n2.材质:镀锌桥架\n3.规格:200*100\n4.其他:控制柜至喷淋泵",null,"m",15.35]
[54,"030408003009","埋地电缆保护管4根×SC80","1.名称:埋地电缆保护管\n2.材质:镀锌钢管\n3.规格:4根×SC80\n4.敷设方式:埋地敷设\n5.垫层:C15混凝土垫层100mm厚\n6.包封强度等级:C20混凝土\n7.其他:包括但不限于规范及图纸范围内的一切相关工作内容",null,"m",181.5]
["本页小计"]
["注：为计取规费等的使用，可在表中增设其中：“定额人工费”。"]
[{"$nulls":7},"表—08"]
["分部分项工程和单价措施项目清单与计价表"]
["工程名称：广重集团新生产线车间消防管网给水改造项目",{"$nulls":3},"标段：",null,null,"第 10 页  共 19 页"]
["序号","项目编码","项目名称","项目特征描述",null,"计量单位","工程量",null,"金额（元）"]
[{"$nulls":8},"综合单价","综合合价","其中"]
[{"$nulls":10},"暂估价"]
[55,"030408003006","埋地电缆保护管2根×SC50","1.名称:埋地电缆保护管\n2.材质:镀锌钢管\n3.规格:2根×SC50\n4.敷设方式:埋地敷设\n5.垫层:C15混凝土垫层100mm厚\n6.包封强度等级:C20混凝土\n7.其他:包括但不限于规范及图纸范围内的一切相关工作内容",null,"m",71.35]
[56,"040806001001","接地排","1.名称：接地排\n2.材质：铝质\n3.安装部位：消防泵房",null,"根",5]
[57,"030905001001","自动报警系统调试","1.名称:自动报警系统调试\n2.其他:包括但不限于规范及图纸范围内的一切相关工作内容",null,"系统",1]
[null,null,"消防水部分"]
[58,"030110001002","空压机","1.名称:空压机\n2.型号:N=2.2KW,380V\n3.其他:设备自带空压机控制箱，详见设计图纸及施工规范要求\n4.基础垫层：砖砌混凝土基础",null,"台",1]
[59,"030109001003","喷淋加压泵（一用一备）","1.名称:喷淋加压泵（一用一备）\n2.规格:Q=65L/s,H=85m,P=90KW\n3.其他:详见设计图纸及施工规范要求\n4.基础垫层：砖砌混凝土基础",null,"台",2]
["本页小计"]
["注：为计取规费等的使用，可在表中增设其中：“定额人工费”。"]
[{"$nulls":7},"表—08"]
["分部分项工程和单价措施项目清单与计价表"]
["工程名称：广重集团新生产线车间消防管网给水改造项目",{"$nulls":3},"标段：",null,null,"第 11 页  共 19 页"]
["序号","项目编码","项目名称","项目特征描述",null,"计量单位","工程量",null,"金额（元）"]
[{"$nulls":8},"综合单价","综合合价","其中"]
[{"$nulls":10},"暂估价"]
[60,"030109001004","喷淋稳压泵（一用一备）","1.名称:喷淋稳压泵（一用一备）\n2.规格:Q=1.0L/s,H=95m,P=4KW\n3.其他:厂家配套压力罐，详见设计图纸及施工规范要求\n4.基础垫层：砖砌混凝土基础",null,"台",2]
[61,"030903008002","泡沫液贮罐","1.名称:泡沫液储罐\n2.型号、规格:有效容积2m³\n3.其他:详见设计图纸及施工规范要求\n4.基础垫层：砖砌混凝土基础",null,"台",1]
[62,"031001006001","钢丝网骨架塑料(PE)复合给水管（路面埋地）","1.名称:喷淋给水管\n2.安装部位:室外\n3.材质、规格:钢丝网骨架塑料(PE)复合给水管DN200\n4.连接形式:法兰连接\n5.其他:包含管道试压及冲洗",null,"m",40]
[63,"031001006005","钢丝网骨架塑料(PE)复合给水管（路面埋地）","1.名称:喷淋给水管\n2.安装部位:室外\n3.材质、规格:钢丝网骨架塑料(PE)复合给水管DN150\n4.连接形式:法兰连接\n5.其他:包含管道试压及冲洗",null,"m",12.308]
[64,"031001006003","钢丝网骨架塑料(PE)复合给水管（路面埋地）","1.名称:喷淋给水管\n2.安装部位:室外\n3.材质、规格:钢丝网骨架塑料(PE)复合给水管DN100\n4.连接形式:热熔\n5.其他:包含管道试压及冲洗",null,"m",23.9]
["本页小计"]
["注：为计取规费等的使用，可在表中增设其中：“定额人工费”。"]
[{"$nulls":7},"表—08"]
["分部分项工程和单价措施项目清单与计价表"]
["工程名称：广重集团新生产线车间消防管网给水改造项目",{"$nulls":3},"标段：",null,null,"第 12 页  共 19 页"]
["序号","项目编码","项目名称","项目特征描述",null,"计量单位","工程量",null,"金额（元）"]
[{"$nulls":8},"综合单价","综合合价","其中"]
[{"$nulls":10},"暂估价"]
[65,"031001006004","钢丝网骨架塑料(PE)复合给水管（路面埋地）","1.名称:喷淋给水管\n2.安装部位:室外\n3.材质、规格:钢丝网骨架塑料(PE)复合给水管DN50\n4.连接形式:热熔\n5.其他:包含管道试压及冲洗",null,"m",24.9]
[66,"030901001001","内外壁热镀锌钢管DN250","1.名称:喷淋给水管\n2.安装部位:消防水泵房及室外\n3.材质、规格:内外壁热镀锌钢管DN250\n4.连接形式:卡箍连接\n5.其他:包含管道试压及冲洗",null,"m",6.318]
[67,"030901001002","内外壁热镀锌钢管DN200","1.名称:喷淋给水管\n2.安装部位:消防水泵房及室外\n3.材质、规格:内外壁热镀锌钢管DN200\n4.连接形式:卡箍连接\n5.其他:包含管道试压及冲洗",null,"m",247.448]
[68,"030901001003","内外壁热镀锌钢管DN150","1.名称:喷淋给水管\n2.安装部位:消防水泵房及室外\n3.材质、规格:内外壁热镀锌钢管DN150\n4.连接形式:卡箍连接\n5.其他:包含管道试压及冲洗",null,"m",8.238]
[69,"030901001004","内外壁热镀锌钢管DN100","1.名称:喷淋给水管\n2.安装部位:消防水泵房及室外\n3.材质、规格:内外壁热镀锌钢管DN100\n4.连接形式:卡箍连接\n5.其他:包含管道试压及冲洗",null,"m",202.328]
["本页小计"]
["注：为计取规费等的使用，可在表中增设其中：“定额人工费”。"]
[{"$nulls":7},"表—08"]
["分部分项工程和单价措施项目清单与计价表"]
["工程名称：广重集团新生产线车间消防管网给水改造项目",{"$nulls":3},"标段：",null,null,"第 13 页  共 19 页"]
["序号","项目编码","项目名称","项目特征描述",null,"计量单位","工程量",null,"金额（元）"]
[{"$nulls":8},"综合单价","综合合价","其中"]
[{"$nulls":10},"暂估价"]
[70,"030901001005","内外壁热镀锌钢管DN50","1.名称:喷淋给水管\n2.安装部位:消防水泵房及室外\n3.材质、规格:内外壁热镀锌钢管DN50\n4.连接形式:螺纹连接\n5.其他:包含管道试压及冲洗",null,"m",124.482]
[71,"011615001001","消防管穿楼板开孔","1.名称：消防管穿楼板开孔\n2.规格：DN150",null,"个",5]
[72,"031002003006","穿楼板套管 DN150","1.名称：穿楼板套管\n2.材质：钢套管\n3.规格：DN150",null,"个",5]
[73,"030901012001","消防水泵接合器","1.名称:水泵接合器\n2.安装部位:室外\n3.型号、规格:SQD150\n4.垫层：C30混凝土基础",null,"套",7]
[74,"040504001001","砌筑井","1.名称:砖砌阀门井\n2.类型:砌筑井\n3.其他:包括但不限于规范及图纸范围内的一切相关工作内容",null,"座",1]
[75,"031003008002","Y型过滤器 DN250","1.名称:Y型过滤器\n2.规格、压力等级:DN250\n3.连接形式:法兰连接\n4.其他:包括但不限于规范及图纸范围内的一切相关工作内容",null,"组",2]
[76,"031003008003","Y型过滤器 DN200","1.名称:Y型过滤器\n2.规格、压力等级:DN200\n3.连接形式:法兰连接\n4.其他:包括但不限于规范及图纸范围内的一切相关工作内容",null,"组",1]
[77,"031003008004","Y型过滤器 DN150","1.名称:Y型过滤器\n2.规格、压力等级:DN150\n3.连接形式:法兰连接\n4.其他:包括但不限于规范及图纸范围内的一切相关工作内容",null,"组",1]
["本页小计"]
["注：为计取规费等的使用，可在表中增设其中：“定额人工费”。"]
[{"$nulls":7},"表—08"]
["分部分项工程和单价措施项目清单与计价表"]
["工程名称：广重集团新生产线车间消防管网给水改造项目",{"$nulls":3},"标段：",null,null,"第 14 页  共 19 页"]
["序号","项目编码","项目名称","项目特征描述",null,"计量单位","工程量",null,"金额（元）"]
[{"$nulls":8},"综合单价","综合合价","其中"]
[{"$nulls":10},"暂估价"]
[78,"031003008005","Y型过滤器 N50","1.名称:Y型过滤器\n2.规格、压力等级:DN50\n3.连接形式:法兰连接\n4.其他:包括但不限于规范及图纸范围内的一切相关工作内容",null,"组",2]
[79,"031003002001","螺纹法兰阀门","1.名称:安全阀\n2.规格、压力等级:DN150\n3.连接形式:法兰连接\n4.其他:包括但不限于规范及图纸范围内的一切相关工作内容",null,"个",1]
[80,"031003002002","垂直吸水喇叭口 DN250","1.名称:垂直吸水喇叭口\n2.规格、压力等级:DN250\n3.连接形式:法兰连接\n4.其他:包括但不限于规范及图纸范围内的一切相关工作内容",null,"个",1]
[81,"031003002003","垂直吸水喇叭口 DN150","1.名称:垂直吸水喇叭口\n2.规格、压力等级:DN150\n3.连接形式:法兰连接\n4.其他:包括但不限于规范及图纸范围内的一切相关工作内容",null,"个",1]
[82,"031003010001","可曲挠橡胶接头 DN250","1.名称:可曲挠橡胶接头\n2.规格:DN250\n3.连接形式:法兰连接\n4.其他:包括但不限于规范及图纸范围内的一切相关工作内容",null,"个",2]
[83,"031003010002","可曲挠橡胶接头 DN50","1.名称:可曲挠橡胶接头\n2.规格:DN50\n3.连接形式:法兰连接\n4.其他:包括但不限于规范及图纸范围内的一切相关工作内容",null,"个",2]
[84,"031003002004","流量计 DN150","1.名称:流量计\n2.规格、压力等级:DN150\n3.连接形式:法兰连接\n4.其他:包括但不限于规范及图纸范围内的一切相关工作内容",null,"个",1]
["本页小计"]
["注：为计取规费等的使用，可在表中增设其中：“定额人工费”。"]
[{"$nulls":7},"表—08"]
["分部分项工程和单价措施项目清单与计价表"]
["工程名称：广重集团新生产线车间消防管网给水改造项目",{"$nulls":3},"标段：",null,null,"第 15 页  共 19 页"]
["序号","项目编码","项目名称","项目特征描述",null,"计量单位","工程量",null,"金额（元）"]
[{"$nulls":8},"综合单价","综合合价","其中"]
[{"$nulls":10},"暂估价"]
[85,"031003002005","流量开关 DN150","1.名称:流量开关\n2.规格、压力等级:DN150\n3.连接形式:法兰连接\n4.其他:包括但不限于规范及图纸范围内的一切相关工作内容",null,"个",1]
[86,"031003002006","湿式报警阀 DN200","1.名称:湿式报警阀\n2.规格、压力等级:DN200\n3.连接形式:法兰连接\n4.其他:包括但不限于规范及图纸范围内的一切相关工作内容",null,"个",1]
[87,"031003002007","水锤消除器 DN200","1.名称:水锤消除器\n2.规格、压力等级:DN200\n3.连接形式:法兰连接\n4.其他:包括但不限于规范及图纸范围内的一切相关工作内容",null,"个",1]
[88,"031003002008","同心异径管 DN250","1.名称:同心异径管\n2.规格、压力等级:DN250\n3.连接形式:法兰连接\n4.其他:包括但不限于规范及图纸范围内的一切相关工作内容",null,"个",2]
[89,"031003002009","同心异径管 DN50","1.名称:同心异径管\n2.规格、压力等级:DN50\n3.连接形式:法兰连接\n4.其他:包括但不限于规范及图纸范围内的一切相关工作内容",null,"个",2]
[90,"031003002010","信号阀 DN200","1.名称:信号阀\n2.规格、压力等级:DN200\n3.连接形式:法兰连接\n4.其他:包括但不限于规范及图纸范围内的一切相关工作内容",null,"个",1]
[91,"031003002011","压力表","1.名称:压力表\n2.连接形式:法兰连接\n3.其他:包括但不限于规范及图纸范围内的一切相关工作内容",null,"个",1]
["本页小计"]
["注：为计取规费等的使用，可在表中增设其中：“定额人工费”。"]
[{"$nulls":7},"表—08"]
["分部分项工程和单价措施项目清单与计价表"]
["工程名称：广重集团新生产线车间消防管网给水改造项目",{"$nulls":3},"标段：",null,null,"第 16 页  共 19 页"]
["序号","项目编码","项目名称","项目特征描述",null,"计量单位","工程量",null,"金额（元）"]
[{"$nulls":8},"综合单价","综合合价","其中"]
[{"$nulls":10},"暂估价"]
[92,"031003002012","预警作用报警阀 DN100","1.名称:预警作用报警阀\n2.规格、压力等级:DN100\n3.连接形式:法兰连接\n4.其他:包括但不限于规范及图纸范围内的一切相关工作内容",null,"个",1]
[93,"031003002013","闸阀 DN250","1.名称:闸阀\n2.规格、压力等级:DN250\n3.连接形式:法兰连接\n4.其他:包括但不限于规范及图纸范围内的一切相关工作内容",null,"个",2]
[94,"031003002014","闸阀 DN200","1.名称:闸阀\n2.规格、压力等级:DN200\n3.连接形式:法兰连接\n4.其他:包括但不限于规范及图纸范围内的一切相关工作内容",null,"个",8]
[95,"031003002015","闸阀 DN150","1.名称:闸阀\n2.规格、压力等级:DN150\n3.连接形式:法兰连接\n4.其他:包括但不限于规范及图纸范围内的一切相关工作内容",null,"个",3]
[96,"031003002016","闸阀 DN100","1.名称:闸阀\n2.规格、压力等级:DN100\n3.连接形式:法兰连接\n4.其他:包括但不限于规范及图纸范围内的一切相关工作内容",null,"个",4]
[97,"031003002017","闸阀 DN50","1.名称:闸阀\n2.规格、压力等级:DN50\n3.连接形式:法兰连接\n4.其他:包括但不限于规范及图纸范围内的一切相关工作内容",null,"个",3]
["本页小计"]
["注：为计取规费等的使用，可在表中增设其中：“定额人工费”。"]
[{"$nulls":7},"表—08"]
["分部分项工程和单价措施项目清单与计价表"]
["工程名称：广重集团新生产线车间消防管网给水改造项目",{"$nulls":3},"标段：",null,null,"第 17 页  共 19 页"]
["序号","项目编码","项目名称","项目特征描述",null,"计量单位","工程量",null,"金额（元）"]
[{"$nulls":8},"综合单价","综合合价","其中"]
[{"$nulls":10},"暂估价"]
[98,"031003002018","止回阀 DN100","1.名称:止回阀\n2.规格、压力等级:DN100\n3.连接形式:法兰连接\n4.其他:包括但不限于规范及图纸范围内的一切相关工作内容",null,"个",1]
[99,"031002001001","管道支架","1.名称:管道支架\n2.其他:包括除锈、刷油两遍等，但不限于规范及图纸范围内的一切相关工作内容",null,"kg",229.8192]
[100,"031002003001","柔性套管 DN250","1.名称、类型:柔性套管\n2.规格:DN250\n3.其他:墙面开孔，包括但不限于规范及图纸范围内的一切相关工作内容",null,"个",2]
[101,"031002003003","钢套管 DN200","1.名称、类型:钢套管\n2.规格:DN200\n3.其他:墙面开孔，包括但不限于规范及图纸范围内的一切相关工作内容",null,"个",2]
[102,"031002003002","柔性套管 DN150","1.名称、类型:柔性套管\n2.规格:DN150\n3.其他:墙面开孔，包括但不限于规范及图纸范围内的一切相关工作内容",null,"个",1]
[103,"031002003004","套管","1.名称、类型:钢套管\n2.规格:DN100\n3.其他:墙面开孔，包括但不限于规范及图纸范围内的一切相关工作内容",null,"个",1]
[104,"031002003005","钢套管 DN50","1.名称、类型:钢套管\n2.规格:DN50\n3.其他:墙面开孔，包括但不限于规范及图纸范围内的一切相关工作内容",null,"个",1]
[105,"040503002001","室外管道支墩","1.名称：室外混凝土管道支墩\n2.安装部位：室外\n3.规格型号：C30砖混，1000mm*1000mm*300mm",null,"m3",11.1]
["本页小计"]
["注：为计取规费等的使用，可在表中增设其中：“定额人工费”。"]
[{"$nulls":7},"表—08"]
["分部分项工程和单价措施项目清单与计价表"]
["工程名称：广重集团新生产线车间消防管网给水改造项目",{"$nulls":3},"标段：",null,null,"第 18 页  共 19 页"]
["序号","项目编码","项目名称","项目特征描述",null,"计量单位","工程量",null,"金额（元）"]
[{"$nulls":8},"综合单价","综合合价","其中"]
[{"$nulls":10},"暂估价"]
[null,null,"土石方工程"]
[106,"040101002001","挖沟槽土方","1.部位:挖沟槽土方\n2.土壤类别: 一、二类土\n3.挖土深度:2m内\n4.其他:包括但不限于规范及图纸范围内的一切相关工作内容",null,"m3",463]
[107,"040103001001","回填方","1.填方材料品种:原土回填\n2.填方粒径要求:综合考虑\n3.其他:包括但不限于规范及图纸范围内的一切相关工作内容",null,"m3",225.91]
[108,"040103001002","回填方","1.密实度要求:满足设计要求\n2.填方材料品种:回填砂\n3.填方粒径要求:综合考虑",null,"m3",54.1894]
[109,"040103001003","回填方","1.密实度要求:满足设计要求\n2.填方材料品种:回填石屑\n3.填方粒径要求:综合考虑",null,"m3",97.885]
[110,"040103002001","余方弃置","1.废弃料品种:土方\n2.运距:20km\n3.其他:包括但不限于规范及图纸范围内的一切相关工作内容",null,"m3",81.01]
[111,"041001001001","拆除路面","1.名称:拆除混凝土路面路面\n2.厚度:20cm\n3.其他:包含路面破除、场地清理等。包括但不限于规范及图纸范围内的一切相关工作内容",null,"m2",95.28]
[112,"040203007001","水泥混凝土","1.混凝土强度等级:C30\n2.厚度:按设计要求\n3.其他:包括但不限于规范及图纸范围内的一切相关工作内容",null,"m2",95.28]
[null,null,"措施项目"]
[113,"031302007001","高层施工增加",null,null,"项",1]
["本页小计"]
["注：为计取规费等的使用，可在表中增设其中：“定额人工费”。"]
[{"$nulls":7},"表—08"]
["分部分项工程和单价措施项目清单与计价表"]
["工程名称：广重集团新生产线车间消防管网给水改造项目",{"$nulls":3},"标段：",null,null,"第 19 页  共 19 页"]
["序号","项目编码","项目名称","项目特征描述",null,"计量单位","工程量",null,"金额（元）"]
[{"$nulls":8},"综合单价","综合合价","其中"]
[{"$nulls":10},"暂估价"]
[114,"031301017001","脚手架搭拆费",null,null,"项",1]
[115,"031302007001","高层施工增加",null,null,"项",1]
[116,"031301017001","脚手架搭拆费",null,null,"项",1]
[117,"031301017002","脚手架搭拆",null,null,"项",1]
[118,"011702001001","基础","1.基础类型:桥架支墩模板",null,"m2",54]
{"$rows_empty":23}
["本页小计"]
["合   计"]
["注：为计取规费等的使用，可在表中增设其中：“定额人工费”。"]
[{"$nulls":7},"表—08"]